
SoWMEX/TiMREX Facilities Status Report

Date of report(UTC): 2008/6/26
Author of report: Steven Huang
Submitted at(UTC): 2008/06/26


OVERVIEW:
* All rain instruments are up.
* After yesterday's flight mission completed, today's flight is canceled by SPG meeting.




FACILITY STATUS:
	NO
	Facility
	status
	Comment

	1
	Sounding System
	
	

	
	a
	Banciao(46692)
	 FORMDROPDOWN 

	     

	
	b
	Hualien(46699)
	 FORMDROPDOWN 

	     

	
	c
	Dongsha(46810)
	 FORMDROPDOWN 

	2 soundings per day: 00 12

	
	d
	Magong(46734)
	 FORMDROPDOWN 

	3 soundings per day: 00 06 12

	
	e
	Pingtung(46750)
	 FORMDROPDOWN 

	3 soundings per day: 00 06 12

	
	f
	Lyudao(46780)
	 FORMDROPDOWN 

	3 soundings per day: 00 06 12

	
	g
	Taichung(99770)
	 FORMDROPDOWN 

	     

	
	h
	Liouguei(99744)
	 FORMDROPDOWN 

	3 soundings per day: 00 06 12

	
	i
	Hengchun(99759)
	 FORMDROPDOWN 

	3 soundings per day: 00 06 12

	
	j
	Ship_SW(99810)
	 FORMDROPDOWN 

	     

	
	k
	Ship_NE(99692)
	 FORMDROPDOWN 

	     

	
	l
	Yongkang(46741)
	 FORMDROPDOWN 

	moved back to Hengchun

	2
	Dropsonde System

(Remaining flight hrs:0 hrs)
	 FORMDROPDOWN 

	Completed a flight mission at 0900UTC June 25.

Cancel 0130UTC June 26 flight mission.


	3
	S-pol radar
	 FORMDROPDOWN 

	S-Pol operated throughout the night in attended mode without any problems.

	4
	Team radar
	 FORMDROPDOWN 

	1. TEAM-R observed the convection systems came from south and few shower systems at mountain region.

2. TEAM-R and SPOL made some coordinated scan from 0152UTC till the end of the weather systems.


	5
	Rain Measurement System

	
	a
	Japan Radar
	 FORMDROPDOWN 

	     

	
	b
	VertiX (Super Site)
	 FORMDROPDOWN 

	     

	
	c
	POSS3_EC1 (Super Site)
	 FORMDROPDOWN 

	     

	
	d
	MRR5_KNU (Super Site)
	 FORMDROPDOWN 

	     

	
	e
	JWD1_NCU1 (Super Site)
	 FORMDROPDOWN 

	     

	
	f
	2DVD (Super Site)
	 FORMDROPDOWN 

	     

	
	g
	ISS (Super Site)
	 FORMDROPDOWN 

	     

	
	h
	Raingauge (Super Site)
	 FORMDROPDOWN 

	     

	
	i
	LPM_CCU (Super Site)
	 FORMDROPDOWN 

	     

	
	j
	DFW-III _NCU (Super Site)
	 FORMDROPDOWN 

	     

	
	k
	Network Connectivity
	 FORMDROPDOWN 

	     

	
	l
	POSS1_McGill (Gau-Lan)
	 FORMDROPDOWN 

	     

	
	m
	POSS2_PKNU (Te-Wen)
	 FORMDROPDOWN 

	     

	
	n
	POSS4_EC2 (Ho-Juan)
	 FORMDROPDOWN 

	     

	
	o
	POSS5_EC3 (Si-Wei)
	 FORMDROPDOWN 

	     

	
	p
	MRR1_CCU1 (Tu-Ku)
	 FORMDROPDOWN 

	     

	
	q
	MRR2_CCU2 (Shi-Rong)
	 FORMDROPDOWN 

	     

	
	r
	MRR3_CCU3 (Lin-Luo)
	 FORMDROPDOWN 

	     

	
	s
	MRR4_CCU4 (Ma-Jia V.O.)
	 FORMDROPDOWN 

	     

	
	t
	JWD2_CCU (Ma-Jia J.H.S.)
	 FORMDROPDOWN 

	     

	
	u
	JWD3_NCU2 (Quan-Fu)
	 FORMDROPDOWN 

	     

	
	v
	JWD4_NCU3 (Fan-Hua)
	 FORMDROPDOWN 

	     

	
	t
	JWD5_NCU4 (Chin-San)
	 FORMDROPDOWN 

	     




RAWINSONDE REMAINING STATUS:
	NO
	Station
	Sondes
	Balloons
	Gas Bottles

	1
	Banciao(46692)
	     
	     
	     

	2
	Hualien(46699)
	     
	     
	     

	3
	Dongsha(46810)
	     
	     
	     

	4
	Magong(46734)
	380
	60
	49

	5
	Pingtung(46750)
	388
	93
	45

	6
	Lyudao(46780)
	482
	49
	70

	7
	Taichung(99770)
	X
	X
	X

	8
	Liouguei(99744)
	3
	3
	25

	9
	Hengchun(99759)
	20
	22
	6

	10
	Ship_SW(99810)
	X
	X
	X

	11
	Ship_NE(99692)
	X
	X
	X

	12
	Yongkang(46741)
	X
	X
	X



